Entrance guard machine instructions
Please read the instructions carefully before use
1、 Product introduction
This product is the ordinary card entrance guard machine：the operation is simple，Stable operation, etc，Support external card reader、to do a card reader，variety of authentication the：password to open the door、card to open the door、card + password to open the door three models。
Using range：Any need to access control channel
1、Technical parameters
	Serial no.
	project
	index

	1
	Working voltage
	DC9V—15V（ standard 12V）

	2
	Electric current
	Don't drive lock ≤70mA

	3
	Unlock the electric current
	≤1000mA

	4
	Working temperature
	-10℃—70℃

	5
	Working humidity
	0—100%

	6
	Frequency
	125KHz(EM CARD)13.56MHz(M1 CARD)


2、Function Introduction
	Serial no.
	project
	index

	1
	Card capacity
	500, may be extended to 3000

	2
	Authentication mode
	Card, password、Card + password

	3
	Maximum swipe distance
	15—20CM

	4
	Initial programming password
	123456

	5
	Access control machine can also as a reading head，can be an external a read head WG26.


2、 Wiring diagram
AC wiring seat       Dedicated power supply socket        Special door lock
	+12V

GND

PUSH

NC

GND
KEY

D0

D1

BELL1

BELL2

	+12V

GND

PUSH

NO

GND

NC


Access controller wiring diagram
           NOTE：According to the #5#1# output on the machine mode, press #5#0# to input mode.
3、 add/remove users
1、verification mode
1、Card mode：Directly after the success of the credit card verification, green light, the output signal to open the door；
2、Password mode：First to enter the password, press # finally, after the success, the green light, the output signal to open the door；
3、Card+ Password： The first verification card, and then enter the password, press # end verification, green light, the output signal of opening the door.
2、add users
A、Swipe card registration：  

1、Followed by the "#"→ "*"→ "123456"→"# buzzer rings twice" Didi, green light, enter setup mode；
2、Followed by the "5", the green light out to the card (Note: continuous card registration), according to the "#" buzzer will beep twice, success tips, press two "*" exit program.
B、Enter the number of registration：

1、Followed by the "#"→ "*"→ "123456"→ "# buzzer rings twice" Didi, green light, enter setup mode；

2、Followed by the "2",green light out，enter the ID 10 digit number, press the "#" buzzer will beep twice, success tips, press two "*" exit program.
C、Password registered:

1、Followed by the "#"→ "*"→ "123456"→ "# buzzer rings twice" Didi, green light, enter setup mode；
2、Followed by the "3", the green light out to enter the 6 random numbers, press the "#" buzzer will beep twice, success tips, press two "*" exit program.
3、remove users
Followed by the "#"→"*"→ "123456",→"# buzzer rings twice" Didi, green light, enter setup mode；
A、Swipe to delete：Followed by the "8", the green light out, press "1" the green light to brush to remove the card (Note: continuous card removed), according to the "#" buzzer will beep twice, success tips, press two "*" exit program；
B、Enter the card number to delete：Followed by the "8", the green light, press "2" to enter 10 numbers, press the "#" buzzer will beep twice, success tips, if you want to delete, please press "2" to enter 10 numbers, press the "#", press two "*" exit program；
C、Password deleted：Followed by the "8", the green light, press "3" to enter the password, press "#" buzzer will beep twice, success to continue to delete, please press "3" to enter the password, press "# end, press two "*" exit program.
4、 Card+ Password registration
1、Followed by the "#"→ "*"→ "123456"→ "# buzzer rings twice" Didi, green light, enter setup mode；
2、Followed by the "4", the green light to swipe card then input 6 random numbers (Note: the password the first cannot be 0), according to the "#" buzzer will beep twice, success tips, press two "*" exit program
5、 Set the time to open the door：（default open 6S）
1、Followed by the "#", "*", "123456", "# buzzer rings twice," Didi, green light, enter setup mode；
2、Followed by the "7", the green light to enter the 1-9 number, press the "#" buzzer will beep twice, success tips, press two "*" exit program：
1------2S                 4------8S               7------14S

 2------4S                 5------10S              8------16S

 3------6S                 6------12S              9------18S
6、 Modify the programming password and initialization access machine
1、 Modify the programming password
1、First press “#”→“*”→“123456”→“#”，the buzzer sound drops，green light，enter setup mode.
2、Press “1” →green light out→Enter the new programming password（note：the first digit cannot password is 0）→press“#” ，press twice “*” exit programming.
2、Delete all the registered registration information
1、Press“#”→“*”→“123456”→“#”，the buzzer sound drop，green light，enter setup mode;
2、Press“9” →green light out→press“#”→input 123→press“#” buzzer rang four tones，Prompt success，press twice “*” exit programming.
3、Restore factory settings
Access control machine in the electricity conductor will Reset (A, B) feet short circuit，the buzzer sound drops five，the restore factory settings！


 restore factory settings Will include the content：

        1. Programming password；


2. Superuser Verify Password；


3. Open door time.






Push button





WG26


Output and input





Special door lock





Doorbell

















